CITY OF TWO RIVERS CITY COUNCIL

PUBLIC UTILITIES COMMITTEE

# Tuesday, April 4, 2017

6:00 P.M.

City Hall, 3rd Floor, Committee Room

MINUTES

Call to Order

Roll Call

Committee members present: James Taddy, Darla LeClair; absent: Jack Powalisz

Staff Present: James Mc Donald (City Engineer/ Public Works Director), Scott Ahl (Civil Engineer II), Ross Blaha (Water Utility Supt), Dave Casebeer (WWTP)

Greg Droessler, PE, Town & Country Engineering

Review and Approval of Minutes – Motion by LeClair, seconded by Taddy, to approve minutes as presented.  Motion carried upon unanimous voice vote.

Public Input

Discussion, status update and action regarding Ordinance and Policy Changes regarding Private Lateral requirements and Special Financing – No Updates

Consideration and Action regarding Special Assessments / Charges (Pilon and Wilson) – Projects include replacement of private sewer and water services, also storm laterals; cost assessments for storm laterals could vary between $915 (similar to Lincoln Ave) to $3,000-$4,000, based on bid prices

Water Utility:   Updates from Director (including Turbidity Meter Needs)

Turbidity Meters – getting old and obsolete; monitor turbidity on racks and control plant operations

Youth Apprenticeship – program through high school; students hired at minimum 12 hours per school week, 456 – 599 hours; program helps retain students into associated field

New membranes on order; will have 5-year performance rating; 468 fibers pinned last month; spend $1,000 per month

Electric / Telecommunications Utilities:  Updates from Director

Waste Water Utility:  Updates from Superintendent and Facilities Plan Status / Issues

March (typically highest month due to snow melt) – high flow 3.19 MGD; average 2.85 MGD

CMOM – required DNR program

Town and Country Facility Plan Summary Presentation, Discussion and Action (Greg Droessler)

Review of WWTP assessment to determine condition of plant, prioritize improvement programs and develop assessments

An intent to apply was submitted to the DNR for project funding – city qualifies for 30% principal forgiveness, up to max of $700,000 annually, which may be used on various projects. Major projects at the treatment plant include:

- Headworks upgrade-electrical code issues; no separation between wastewater

- No grit removal-premature wear and tear on PU

- SCADA-not comprehensive, (existing utilizes old telephone technology.

- Sludge dewatering-current belt press is 20-years old and nearing end of useful life

- Digest 2 – cover -need to plan for replacement of membrane cover; 10- to 15-year life

- Repair hydraulic bottleneck -between the front and rear aeration basins

Total costs - $6 to $6.5 million – consider options to split into multiple projects (project #1 - $3.6 million) to:

- maximize principal forgiveness

- keep projects affordable

- reduce rate impacts

Budge for system improvements/maintenance

another $1.9 million in collection system (lift stations…)

rate projections – anticipate 4% annual increase – 7-8 year; $35.69 average sewer bill could be ≈ $45.15/month in 8 years

Finance through DNR clean water funding;

Previous major plant upgrades dates  1939, 1975 for other portions

Report submitted to DNR; need to continue with preliminary design and provide biddable plans by September 30, 2017

- Plan would likely need to be bid by Jan/Feb 2018 for summer 2018 construction

- Also consider develop/advance additional plans to be ready in case future funding opportunities

- Plant hydraulic analysis ≈ $50,000 preliminary design

- Contract scope would include– better cost estimates; fine tune scope of work

- Next step would be “biddable, approvable” plans @ 75%

- Need to keep in mind other funding such as CDBG and WPPI energy

Next step – look at preliminary design contract; have 6 months to develop biddable plans; need to start/proceed with design in next month

CDBG funds – criteria based on median household income for certain wards/location to qualify for ow to moderate income level

Storm Water Utility:  Updates and Action

EPA Grant – Constructed Wetland at Beach

Storm Water Outlet Issues with WDNR

Projects Updates

Other

Other Utilities:  Updates and Action

Landfill

Solid Waste / Recycling

Work in ROW Permit Issues

Various Project Updates:

Wilson / Pilon

Lincoln Avenue Utilities

Vets Park Paving (and storm sewer)

Other

Set Date, Time and Agenda Items for next Committee Meeting

Next meeting to be held Tuesday, May 2, 2017, at 6:00 pm.

Adjournment

A motion was made by LeClair, seconded by Taddy, to adjourn at 7:55 pm.  Motion passed upon unanimous voice vote.

Submitted:

_________________

Scott Ahl